Section 10 51 13

LockersMFG All-Welded Locker

SECTION 10 51 13 – METAL LOCKERS

PART 1 - GENERAL

1.01 	RELATED DOCUMENTS

A. 	Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.02	SUMMARY

A.	Section Includes:

1.	Welded Lockers.

2.	Locker Benches.

1.03	SUBMITTALS

A.	Shop Drawings: Dimensioned drawings, including plans, elevations, and sections to show 			locker locations and interfaces with adjacent substrates.

B.	Color Samples: Manufacturer’s color samples showing the full range of colors available.

C.	Product Data:

1.	Preparation instructions and recommendations.

2.	Storage and handling requirements and recommendations.

3.	Installation methods

D.	Field Dimensions: Verify that drawings with the actual dimensions of the areas receiving the 			lockers must be submitted to the manufacturer prior to fabrication of the lockers and accessories.

1.04	QUALITY ASSURANCE

A.	Regulatory Requirements: Where metal lockers are indicated to comply with accessibility 			requirements, comply with the U.S. Architectural & Transportation Barriers Compliance

Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA)

Accessibility Guidelines for Buildings and Facilities" and ICC/ANSI A117.1.

B. 	Source Limitations: Provide lockers and benches from a single manufacturer to ensure uniformity.

1.05	DELIVERY, STORAGE, AND HANDLING

A.	Store products in the manufacturer’s unopened packaging until ready for installation to 		protect the locker finish and adjacent surfaces from damage.

1.06 	WARRANTY

A.	Manufacturer’s Standard Limited Lifetime Warranty against defective parts and 			workmanship, excluding vandalism and improper installation and use.

1.07	CONSTRUCTION REQUIREMENTS

A. 	All lockers shall be powder-coated steel as designed and manufactured by Lockers 			Manufacturing. Lockers Manufacturing will furnish all labor and materials for the completion 	of work in this section, as shown in the approved drawings and specifications.

PART 2 - PRODUCTS

2.01 	MANUFACTURER

A.	Lockers Manufacturing, located at 209 Pearson Steet, Batesville, MS 38606: 					Phone: 662-338-4340; Email: sales@lockermfg.com; Website: www.lockermfg.com.

B. 	Request for substitutions will be evaluated only if they are submitted with supporting 		documents to show that they are equal to or better than these specification standards.

2.02	PERFORMANCE AND DESIGN REQUIREMENTS

A.	Lockers shall be GREENGUARD Gold Certified by UL Environment through the 			GREENGUARD Certification Program.

B.	Lockers shall be SCS Global Services Indoor Advantage Gold Certified through the 			SCS Indoor Advantage Certification Program.

2.03	MATERIAL

A. 	Steel parts shall be mild cold-rolled commercial quality steel, capable of taking a high-grade 		enamel finish.

2.04	WELDED LOCKERS

A.	Basis of Design: All Welded Series by LockersMFG. Diamond perforations on doors and 			sides. Non-riveted.

1.	Tier:

2. 	Width:

3. 	Depth:

4.	Height:

5. 	Dimensions:

B.	Door Frames: Shall be 16-guage (0.0598-inch) formed in a channel shape with continuous 			vertical door strike.

C. 	Door: 14-gauge (0.0747-inch) steel formations are full channel shape on the lock side 			adequate depth to fully conceal the lock bar, channel formation on the hinge side, and right-			angle formations across the top and bottom.

1.	Doors over 15” wide and 30” high: Provide with 3” wide 16-gauge (0.0598-inch) fill height reinforcing pan, welded to inside face of door at 6” centers.

D. 	Ventilation: All sides and doors 20” or higher shall be perforated with diamond-shaped 		perforations. Optional solid doors and sides. Optional ventilation patterns available upon 		request. (Full louvers, standard louvers, mini louvers, solid, rectangular perforations).

E. 	Body: Steel specially formed for added strength and rigidity and to ensure tight joints at 		fastening points.

1.	Bottoms: 16-gauge (0.0598-inch) sheet steel, notched and formed sheet; one 		continuous bottom for each group of lockers.

2.	Tops: 16-gauge (0.0598-inch) sheet steel, notched and formed sheet.

3.	Sides: 16-gauge (0.0598-inch) sheet steel.

4.	Backs: 18-gauge (0.0478-inch) sheet steel.

5.	Shelves: 16-gauge (0.0598-inch) sheet steel, flanged four sides with additional return 	flange on front edge to increase strength.

F. 	Base: Integral Metal Base: 4” or 6” high 16-gauge (0.0598-inch) steel channel, 			 welded to the locker bottom.

1.	Legs (option): Furnish each group of lockers with 4” or 6” high 14-gauge 			(0.0747-inch) steel legs welded to locker bottom.

2.	No base (option).

G.	Door Handle: Handles shall be recessed in the door.

1.	Drawn pocket shall be 20-gauge (0.0359-inch) brushed stainless steel securely 			fastened to the door with two tabs plus a positive tamper resistant fastener. The 			pocket shall be of sufficient depth for a combination padlock, built-in combination 			lock or key lock from protruding beyond the face of the door.

H. 	Latching: Shall be multi-point latch.

1.	A lock hole cover plate shall be provided for use with padlocks.

2.	The lifting piece shall be 14-gauge (0.0747-inch) formed steel, attached to the 		latching channel with one concealed retaining lug and one rivet

3.	The handle finger lift shall have a padlock eye for use with a 9-32” diameter padlock 		shackle. It shall have a sound-deadening molded comfortable finger lift.

4.	Doors to have latch clip engaging the door frame at three points on doors over 42” 		high and two points on all other doors.

5.	Locking device to be positive, automatic type, whereby locker door may be locked 		when opened, then closed without unlocking.

6.	One rubber silencer shall be firmly secured in the frame at each latch 			hook.

7.	Latch hooks on diamond perforated lockers shall have tamper guards.

I.	Hinges: Shall be 16-gauge (0.0598-inch) continuous piano-type hinge welded to the door and 	riveted to the frame for the full height of the door. Optional 2” high, double spun, full loop 		tight pin, five knuckle butt hinge welded to the frame and riveted to door.

J.	Box Lockers: Door shall be 14-gauge (0.0747-inch) steel, punched for built-in lock or 		padlock. Equip doors for use with padlocks with an 18-gauge (0.0478-inch) combination door 	pull, staple, and lock hole cover plate with integral friction.

K.	Interior Equipment: Full-width shelf, coat rod, and two single prong hooks.

1.	All hooks are zinc plated steel with ballpoint heads and are attached with two 			fasteners.

L. 	Number Plates: Provide holes for attaching number plates. Each locker shall have a polished 	aluminum number plate riveted to door face with black numerals ½” high.

M. 	Finish: All components shall have a hybrid epoxy/polyester powder, electrostatically applied 	to ensure a uniform finished and baked to cure.

1.	Powder-coat dry thickness is a minimum 2 mm thick.

2.	Color: As selected by Architect from manufacturer’s full range.

3.	Special Color/Finish

a.	Custom color

b.	Anti-Graffiti

c.	Anti-Microbial

2.05	ACCESSORIES (Optional)

A.	Continuous Sloped Hoods: 18-guage (0.0478-inch) steel, slope rise equal to 1/3 of the locker 	depth. (18.5 degrees), plus a 1” vertical rise at front. Provide necessary end closures and 		finish to match lockers.

B.	Exposed End Panels: Minimum 16-gauge (0.0598-inch) steel formed	to match locker depth 		and height. Punched with perimeter holes only.

C.	Finished Box End Panels: Minimum 16-gauge (0.0598-inch) steel formed to match locker 		depth and height, 1” edge dimension; finish to match lockers; install with concealed 		fasteners.

D.	Front Fillers: 20-gauge (0.0359-inch) steel formed in an angle shape, with 20-gauge (0.0359-		inch) slip joint angles formed in an angle shape with a double bend on one leg forming a 		pocket to provide adjustable mating with angle filler. Attachment utilizing concealed 		fasteners finish to match lockers.

E.	Top Fillers: 20-gauge (0.0359-inch) steel.

F.	Recess Trim: 18-gauge (0.0478-inch) steel, 3" face dimension. Vertical and/or horizontal as 		required. Standard lengths as long as practical; attaches to lockers with concealed clips. 		Provide necessary finish caps and splices. Finish to match lockers.

G.	Benches: Laminated selected hardwood, 1‐1/4" full finished thickness, corners rounded and 	sanded, surfaces finished with two coats of clear lacquer.

H.	Heavy Duty Bench Pedestals: Steel tubing with 10-gauge (0.1345-inch) steel flanges welded 		to each end, 16‐1/4" high, and finish to match lockers.

I.	Stainless-Steel Free-Standing Bench Pedestal: 2" diameter brushed 16-gauge (0.0598-inch) 		stainless steel formed into a trapezoid, 14" wide bottom with two 5/16" diameter holes, top 		flange with four 5/16" diameter holes for fastening to bench.

J.             Locks:

1.	Built-in flat key locks; master key same to series.

2.	Built-in grooved key Locks (pin tumbler); master key to same series.

3.	Built-in three number dialing combination locks capable of at least five different 		combinations changes; provide master key, combination change key, and 			combination control charts.

4.	Padlocks: Master keyed three number dialing combination type padlocks; provide 			master	key. Mechanism must be resistant to “shimming.”

2.06	BUILT-IN STANDARD SUPERIOR QUIET LOCKER FEATURES

A.	The Design Specifications: Interior welded double strength plate welded to the door. 		Fabricated from 16-gauge (0.0598-inch) or 18-gauge (0.0478-inch) steel sheet; formed into 		channel shape with double a bend at vertical edges and with a single right‐angle bend at the 	horizontal edges. The doors can be equipped with quiet handles and silencing latches.

B.	Quiet Handles: Stainless steel recessed handle with plastic‐protected lifting trigger, 			designed to accept padlock or built-in locks.

C.	Silencing Latches: Nearly silent multi‐point latching on heavy gauge frame hooks with rubber 	buffers that smoothly reduce noise and contact. There is a concealed quiet lock bar that is 		locked into place and restricts metal‐to‐metal noise contact by polyethylene glides.

D.	U-Shaped Channel Glide: The spider plastic component tops the inside of the galvanized 		latch channels, so there is no rattling within the latch bar cavity.

E.	Sound Dampening Panels: LockersMFG standard, designed to stiffen doors and reduce 		sound levels when doors are closed, of die‐formed metal with full perimeter flange and 		sound‐dampening design and material; welded to inner face of doors. Sound‐dampening 		panels are attached horizontally or vertically depending upon the design of the locker.

2.07	FABRICATION

A.	Pre-assemble locker by welding into one-piece structures welds free of burrs; maximum 		width of groups to be 54”.

1.	Fabricate locker square, rigid, without warp, with metal faces and free of distortion.

2. 	No nuts, bolts, or rivets shall be used in the assembly of locker groups.

PART 3 - EXECUTION

3.01	PREPARATION

A.	Verify that base is level. Do not begin installation until the base has been properly prepared. If 	bases or substrates are unsatisfactory, notify Architect immediately before proceeding.

1.	Clean surfaces thoroughly prior to installation.

3.02 	INSTALLATION

A.	Lockers shall be installed in compliance with Lockers Manufacturing installation instructions 	and shall be level and plumb with flush surfaces and rigid attachment to anchoring 			surfaces.

1.	Bolt adjoining locker units together to provide rigid installation.

2.	Assembly by bolting is acceptable, Lockers Manufacturing recommends 			  	assembly by riveting.

3.	Install sloping tops and metal fillers using concealed fasteners. Provide flush 		   	hairline joints against adjacent surfaces.

4.	Install benches by fastening bench tops to pedestals and securely anchoring to			 the floor using appropriate anchors for the floor material.

B.	Anchor lockers to floor and wall

1.	Anchor lockers to floor and wall at 48 inches or less, as recommended by the 			manufacturer.

C.	With factory supplied paint and repair or replace damaged products before substantial 		completion.

3.03	ADJUST AND CLEAN

A.	Adjust doors and latches to operate without binding. Verify that latches are operating 		satisfactorily.

B.	Adjust built-in locks to prevent binding of dial or key and ensure smooth operation prior to 		substantial completion.

3.04	PROTECTION

A.	Protect installed products until completion of project.

END OF SECTION